| **Applicant Owned/ Operated Facility**  **Westwood Heights School District** | **Address or Parcel ID of Facility** | **Potential to discharge pollutants to surface waters of the state.** | Catch basins | Discharge Point or outfall | Detention basins | Oil/water separators | Pump Stations | Secondary containment | Constructed wetlands | Infiltration basins and trenches | Porous pavement | Rain gardens | Underground storage vaults or tanks | Vegetated swales | Other structural storm water controls – Provide a description below: |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Westwood Elementary & Alternative High School | N Jenning Rd | Medium | 22 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A |
| Gillespie Elementary | Orgould St | Low | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A, no stormwater structures |
| Hamady Elementary | Finney Ct | Low | 3 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | N/A |
| Hamady Middle & High School | W Carpenter Rd | Low | 3 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | N/A |
| Undeveloped | W Home Ave | Low | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A, no stormwater structures |
| Undeveloped | Ridgeway Rd | Low | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A, no stormwater structures |

**No other Facilities not listed above. No other Storm Water Controls not listed above.**